| Prepared by | Revision 00 | Date |
| --- | --- | --- |

| Project Data |  |  |  |
| --- | --- | --- | --- |
| Transformer manufacturer |  | End user/Project caption, Country |  |
| Transformer/project series number |  | Identical to drawing number |  |

| Operating position |  |  |  |
| --- | --- | --- | --- |
| Designation of operating positions | Max. effect. number of turns at position | Mid-position(s) | Min. effect. number of turns at position |
| Automatic passage of position(s) |  |  |  |

| Motor circuit |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Motor circuit | Power supply voltage |  | Network type |  | Frequency |  |  |  |
|  | V |  | 3AC/N AC 3AC DC |  | 50Hz 60Hz |  |  |  |
| Control circuit |  |  |  |  |  |  |  |  |
| Control circuit | Power supply from motor circuit |  | Separate, to be provided as below |  |  |  |  |  |
|  |  |  | Power supply voltage |  | Network type |  |  |  |
|  |  |  | V |  | 2AC AC |  | DC |  |
| Protection | Without (Standard design） |  | --Choose an item-- |  |  |  |  |  |
| Heating circuit |  |  |  |  |  |  |  |  |
| Heating circuit |  | Power supply from motor circuit |  | Separate, to be provided as below |  |  |  |  |
|  |  |  |  | Power supply voltage |  | Network type |  |  |
|  |  |  |  | V |  | AC |  | 2AC |
| Protection |  | Without (Standard design） |  | --Choose an item-- |  |  |  |  |
| Heater |  | Resistor heater (Standard design） |  | Heater with thermostat |  | With hygrostat and thermostat |  |  |

| Auxiliary circuit/Signals |  |  |  |
| --- | --- | --- | --- |
|  | Standard design | Other requirements |  |
| Hand lamp（H4） | Without | With |  |
| End-position signaling switch (S16,S17) | Without | 1 N/O | 1 C/O |
| Hand crank signaling switch (S18) | Without | 1 N/O | 1 C/O |
| Cam-operated switch (S20) | Without | 1 C/O |  |
| Signal for incomplete tap changer (S21,KT) | Without | 1 C/O |  |
| Plug socket (X10) | Without | With Universal Socket Others (please specify the Country) |  |
| Below items/signals are included as standard: - 1 N/C for motor protective switch. - 1 N/C for transformer over-current blocking (a jumper is included as standard, remove it if necessary). - 1 N/O for tap changer in operation. - Remote/Off/Local selector switch with 1 Remote & Local signal output - Type Phoenix UK5-twin/UKK5/UKKB5 for terminal block. |  |  |  |

| Position transmitter |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Standard design | Other requirements |  |  |
| N/O contact type | 1 N/O Break-Before-Make | 1 N/O Make-Before-Break 2 N/O Break-Before-Make 2 N/O Make-Before-Break |  |  |
| BCD code module | Without | 1 |  | 2 |
| 4-20mA signal | Without | 1 | 2 | 3 |
| Resistor signal | Without | 1st Ω/Pos. |  | The default option is 10 Ω per position 0 Ω is for the first position of motor drive |
|  |  | 2nd Ω/Pos. |  |  |
|  |  | 3rd Ω/Pos. |  |  |

| Mechanical details/miscellaneous |  |  |  |
| --- | --- | --- | --- |
|  | Standard design | Other requirements |  |
| Cabinet door hinges | Left | Right |  |
| Bottom plate | With 2x φ50 holes | With 2x φ50 holes & cable gland Without bore-hole --Choose an item-- |  |
| Pad lock | Without | With |  |
| Color of paint | --Select or enter text-- |  |  |
| Corrosive class | --Select or enter text-- |  |  |
| Language of nameplate | 1st --Choose an item-- |  |  |
|  | 2nd --Choose an item-- |  |  |
| Language of documentation | 1st --Choose an item-- |  | Quantity 1 |
|  | 2nd --Choose an item-- |  | Quantity |

Remarks

Remarks

| Position indicator and Automatic voltage regulator (AVR) |  |  |  |
| --- | --- | --- | --- |
| Position indicator HMC-3C (AC/DC 85-265V) | Without HMC-3C | With HMC-3C, Type Male aviation connector | With HMC-3C, Type terminal block |
| AVR ET-SZ6 (AC/DC 85-265V) | Without ET-SZ6 | With ET-SZ6, Type Male aviation connector | With ET-SZ6, Type terminal block |
| Cable with Female aviation connector for HMC-3C or ET-SZ6 | 30m cable (Standard offer) | With m cable |  |
| Note: Cable is NOT provided by Huaming in scope of supply if HMC-3C or ET-SZ6 is Type terminal block. |  |  |  |
| Remarks |  |  |  |