| Prepared by | Revision 00 | Date |
| --- | --- | --- |

| Project Data |  |  |  |
| --- | --- | --- | --- |
| Transformer manufacturer |  | Country of installation |  |
| Transformer/project series number |  | Tap changer | --Choose an item-- |
| End user/ Project caption |  | Motor drive for Type CZ tap changer | --Choose an item-- |

| Transformer Data |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Transformer application |  | --Select or enter text-- |  | Vector group of Transformer |  | . |  |
| Type |  | --Choose an item-- |  | No. of phases |  | --Choose an item-- |  |
| Frequency |  | --Choose an item-- |  | Induction |  | --Choose an item-- |  |
| Ambient temp. |  | -25℃~50℃ |  | -45℃~50℃ |  | -60℃~50℃ |  |
| Height above sea level |  | ≤3000m |  | >3000m |  |  |  |
| Rated power |  | kVA，Constant |  | kVA， Decreasing from Position |  |  |  |
| Regulated voltage |  | kV |  | No. of steps |  | Steps |  |
| Regulating range |  | % to % |  | % per steps |  | % |  |
| Nominal current |  | A |  | Max current |  | A |  |
| Step voltage in the phase |  | V，Constant |  | Max= V to Min= V, Variable |  |  |  |
| Regulation location |  |  |  |  |  |  |  |
| In neutral | In center |  | At line end |  | At line end |  | Special regulation (To be attached） |
| In center | 1+2 phases |  | At line end |  | In center |  |  |

| Insulation levels/Test voltages |  |  |  |
| --- | --- | --- | --- |
| In accordance with technical data | Provided as below | AC 1min.[kV] | LI 1.2/50[kV] |
| Tap changer to earth |  |  |  |
| Across fine tap winding[a] |  |  |  |
| Between adjacent taps[a1] |  |  |  |
| Between tapped winding of various phases[b] |  |  |  |

| Type CVT Tap Changer Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Type | No. of phases | Max. rated through-current | Y/D | Um[kV] | Number of positions |
| CVT | III |  |  | 12 |  |
| Designation of operating positions | Max. effect. number of turns at position |  | Mid-position(s) |  | Min. effect. number of turns at position |
| Contact terminal arrangement | Standard design |  |  |  |  |
| AVR HMJK-10Z controller | HMJK-10Z 220VAC (Standard design) |  | Other power supply for AVR， V Parallel control by AVR |  |  |
| Length of cable for HMJK-10Z controller | 30m cable (Standard offer) |  | With m cable |  |  |
| Color of paint for cabinet | RAL 7032 (Standard design) |  | --Select or enter text-- |  |  |
| Language of nameplate | 1st --Choose an item-- |  |  |  |  |
|  | 2nd --Choose an item-- |  |  |  |  |
| Language of documentation | 1st --Choose an item-- |  | Quantity 1 |  |  |
|  | 2nd --Choose an item-- |  | Quantity |  |  |
| Remarks |  |  |  |  |  |

| Type CZ Tap Changer Data |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Number of columns | Type | No. of phases | Max. rated through-current | Um[kV] |  | Number of positions |  |
|  | CZ | I |  |  |  |  |  |
| Designation of operating positions |  | Max. effect. number of turns at position |  | Mid-position(s) |  | Min. effect. number of turns at position |  |
| Contact terminal arrangement |  | Standard design |  |  |  |  |  |
| Location of Motor drive |  |  |  |  |  |  |  |
| Dimensions |  |  |  |  |  |  | a= mm b= mm c= mm (Standard design for Vertical shaft c= 200mm) |
| Additional requirement |  | With HM supporting frame (Standard color RAL 9005, Black) |  |  | Supporting frame with other color --Select or enter text-- |  |  |
| Color of paint for CZ |  | --Select or enter text-- |  |  |  |  |  |
| Corrosive class |  | --Select or enter text-- |  |  |  |  |  |
| Language of nameplate |  | 1st --Choose an item-- |  |  |  |  |  |
|  |  | 2nd --Choose an item-- |  |  |  |  |  |
| Language of documentation |  | 1st --Choose an item-- |  | Quantity 1 |  |  |  |
|  |  | 2nd --Choose an item-- |  | Quantity |  |  |  |
| Remarks |  |  |  |  |  |  |  |